## Sheet3
Section/Test | Patient/Sample Preparation | Specimen Type | Container | Special Handling | Method | Normal Range for Females (F:) or as listed | Units
CHEMISTRY
Albumin | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or store 1 Wk. at Rm Temp | BC-BCG | M 4.2-5.5, F 2.7-5.3 | g/dL
Alkaline Phosphatase | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 4 Days at 2-8C | BC-Enzymatic | M 40-130, F 35-105 | IU/L
ALT | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 3 Days at 2-8C | BC-Enzymatic | M 8-41, F 6-33 | IU/L
AST | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 1 Day at Rm Temp | BC-Enzymatic | 10.0-40.0 | IU/L
Bilirubin, D | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 3 Days at 2-8C Protect from light | BC-Diazonium salt | 0-0.4 | mg/dL
Bilirubin, T | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 3 Days at 2-8C Protect from light | BC-Diazonium salt | 0.1-1.2 | mg/dL
BUN | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 4 Days at 2-8C | BC-Enzymatic | 6.0-20.0 | mg/dL
Calcium | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C | BC-Arsenazo | 8.6-10.2 | mg/dL
Cholesterol | Fasting. Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C | BC-Enzymatic | <200 | mg/dL
Chloride | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C | Ion Selective Electrode | 98-107 | mmol/L
CO2 | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C. Protect from exposure to air. | BC-Enzymatic | 20.0-32.0 | mmol/L
Creatinine | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C | BC-Jaffe | M 0.67-1.17, F 0.51-0.95 | mg/dL
Glucose | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum, separate from RBC | SST | Submit on day of collection or Store 7 Days at 2-8C | BC-Enzymatic | 65-99 | mg/dL
HDL | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C | BC-Enzymatic | M >55, F >65 | mg/dL
Phosphorus | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C | BC-Phospho-Molybdate | 2.5-4.5 | mg/dL
Potassium | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum, free from hemolysis, separate from RBCs | SST | Submit on day of collection or Store 7 Days at 2-8C | Ion Selective Electrode | 3.5-5.1 | mmol/L
Sodium | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum, free from hemolysis, separate from RBCs | SST | Submit on day of collection or Store 7 Days at 2-8C | Ion Selective Electrode | 136-145 | mmol/L
Total Protein | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 30 Days at 2-8C | BC-Biuret | 6.6-8.7 | g/dL
Triglycerides | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C | BC-Enzymatic | <150 | mg/dL
IMMUNOASSAYS
AMH | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum, avoid hemolysis | SST | Submit on day of collection or Store 6 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | Age Specific | ng/mL
E2, Sensitive | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | Levels depends on ovulatory status. F: Follicular 27-156 | pg/mL
Ferritin | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 2 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | M 30-400, F 13-150 | ng/mL
FSH | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 2 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | Levels depends on ovulatory status. F: Follicular 3.5-9.0 | miu/mL
FT4 | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 2 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | 0.9-1.8 | ng/dL
HCG | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 2 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | Levels depends on maternity status non -Pregnant F: <5.0 | miu/mL
LH | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 2 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | Levels depends on ovulatory status. F Follicular 2.1-10.9 | miu/mL
Progesterone | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 2 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | Levels depends on ovulatory status. F: Follicular 0.2-1.0 | ng/mL
Prolactin | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 2 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | 3.3-26.7 | ng/mL
Rubella IgG | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 2 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | Non Immune <15, Immune >15 | IU/mL
T4 | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 2 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | 4.8-12.0 | ug/dL
TSH | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 7 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | 0.27-4.2 | miu/mL
Vit D | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store 3 Days at 2-8C | BC-Access Immuno- enzymatic/ Paramagnetic | >30 | ng/mL
INFECTIOUS
CMV | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of plasma | Lavender-EDTA | Submit on day of collection. Store up to 7 Days at 2-8C | Immucor - Red Cell Adherence | Negative | N/A
CMV IgM | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection or Store up to 2 Days at 2-8C | Bio-Rad - Enzyme Immunoassay | Negative, <0.9 Index Value | N/A
HBsAg | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 7 Days | Bio-Rad - Enzyme Immunoassay | Non-Reactive | N/A
HBcAb | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 7 Days | Ortho-Enzyme link immunosorbent | Non-Reactive | N/A
HCV Ab | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 7 Days | Ortho-Enzyme link immuno- sorbent | Non-Reactive | N/A
HIV I, II and O | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 7 Days | Bio-Rad - Enzyme Immunoassay | Non-Reactive | N/A
HTLV I and II | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 7 Days | Avioq-Enzyme link immunosorbent | Negative | N/A
RPR | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 5 Days | ASI-Non-treponemal flocculation test | Non-Reactive | N/A
Rubella IgG | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 1 Days | BC-Access Immuno- enzymatic/ Paramagnetic | Non-Reactive <15.0 IU/mL | N/A
VZV | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 2 Days | Diamedix-Indirect enzyme immunoassay | Non-Reactive <15.0 EU/mL or Index Value < 0.75 | N/A
Zika IgM | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 2 Days | Chembio - Qualitative Immuno-Chromato- graphic assay | Non-Reactive | N/A
MOLECULAR
CT and GC PCR | N/A | 1 ml of preserved urine or swab | BD Max container | First morning urine is preferred, and first portion of the void | PCR Technology | Negative | N/A
HBV Nat (PCR) | N/A | 1.5 ml frozen Plasma | EDTA | Submit on day of collection and ship within 2 Days. Plasma may be stored at 2-8C for 7 days. | Roche: Automated Amplification and Detection of Nucleic acids | Non-Reactive | N/A
HCV Nat (PCR) | N/A | 1.5 ml frozen Plasma | EDTA | Submit on day of collection and ship within 2 Days. Plasma may be stored at 2-8C for 7 days. | Roche: Automated Amplification and Detection of Nucleic acids | Non-Reactive | N/A
HIV Nat (PCR) | N/A | 1.5 ml frozen Plasma | EDTA | Submit on day of collection and ship within 2 Days. Plasma may be stored at 2-8C for 7 days. | Roche: Automated Amplification and Detection of Nucleic acids | Non-Reactive | N/A
WNV (PCR) | N/A | 1.5 ml frozen Plasma | EDTA | Submit on day of collection and ship within 2 Days. Plasma may be stored at 2-8C for 7 days. | Roche: Automated Amplification and Detection of Nucleic acids | Non-Reactive | N/A
URINE
Urine Alcohol | N/A | 1 ml of urine | Urine container | Submit on day of collection and ship within 3 Days. | BC-Enzymatic | ≤ 20 mg/dL | N/A
Urine Drug Screen | N/A | 1ml of urine | Urine container | Submit on day of collection and ship within 7 Days. | Alere-Chromato- graphic Immunoassay | Negative | N/A
Nicotine | N/A | 1 ml of urine | Urine container | Submit on day of collection and ship within 2 Days. | Express Diag. - Chromato- graphic Immunoassay | Negative | N/A
Urinalysis | N/A | 1 ml of urine | Urine container | Submit on day of collection and ship within 2 Days. | Siemens - Multistix -Clinitek Advantus | Glu: Neg Bil: Neg Prot: Neg pH: 5.0-8.0 Bld: Neg Ket: Neg Uro: Neg Nit: Neg Leuk: Neg Spec Gty: 1.020-1.030 | See report
Referral-Send out
Aerobic/ Anaerobic Culture | Collect swab and place it in Media carrier | A/A Swab | Culture Swab | Ship same day | BR-Bacterial Culture | No Growth | N/A
Antithrombin III Activity | Spin after collection, separate plasma and freeze | 2 mL citrated plasma | B - Citrated plasma | Submit on day of collection and ship frozen | BR-Chromogenic | 78-123 | %
Antithrombin III Antigen | Spin after collection, separate plasma and freeze | 2 mL citrated plasma | B - Citrated plasma | Submit on day of collection and ship frozen | BR-Immuno- Turbidimetric | 80-120 | %
Arsenic | N/A | Whole Blood | Royal Blue - EDTA | Ship same day | BioReference-Mass Spec | 2-23.0 | ng/dL
Blood Chromosome Analysis | Collect M-TH | Whole Blood | G-Heparin | Ship same day | BR Chromosome Analysis | Normal Karyotype | N/A
CA-125 | N/A | 1 mL of serum | Royal Blue | Ship same day | BR-Electrochemi- luminescense | 0-38.1 | U/mL
DHEAS | N/A | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense | F: 31-50 yrs 45-419 F: 18-30 yrs 96-571 | ug/dL
Factor II PT Gene Mutation (620210A) | N/A | 2 mL EDTA whole blood | L - EDTA | Ship the whole tube | Arub-PCR | Not Detected | N/A
Factor V Leiden Mutation | N/A | 2 mL EDTA whole blood | L - EDTA | Ship the whole tube | BR-PCR | Not Detected | N/A
Factor VIII | Spin after collection, separate plasma and freeze | B - 2 mL Citrated plasma | B - Citrated plasma | Submit on day of collection and ship frozen | BR-Clot Detection | 62-122 | %
Folate | N/A | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense | 4.8-24.2 | ng/dL
Glutathione | Collect M-TH | Yellow - ACD | Y-ACD | Ship same day | Quantitative Kinetic | 544-1228 | uM
HBc M Ab | Allow sample to clot for 30 minutes, spin for 10 minutes at 2800-3500 rpm | 1 mL of serum | SST | Submit on day of collection and ship within 7 Days | BR- Chemiluminescense | Submit on day of collection and ship within 7 Days | N/A
Insulin | Refrigerate after collection | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense | 2-20.0 | uIU/mL
Lead | Refrigerate after collection | Whole Blood | L - EDTA | Ship same day | BR-Mass Spectrometry | 0-5.0 | ug/dL
Lupus Anticoagulant | Spin after collection, separate plasma and freeze | 2 mL citrated plasma | B - Citrated plasma | Submit on day of collection and ship frozen | BR-Clot Detection | Panel | See Report
Mercury | Discontinue nutritional supplemts, vitamin and over the counter medications | Whole Blood | Royal Blue | Ship same day | BR-Atomic Absorption | 0-10 | ug/L
MTFHR: A1298C C677T | Collect M-TH | Whole Blood | L - EDTA | Ship same day | BR-PCR | Not Detected | N/A
Mycoplasma-Urea Culture | Collect swab and place it in Viral Media | Viral Swab | Myco Swab | Ship same day | BR-Bacterial Culture | Not Isolated | N/A
Natural Killer Cells | Collect M-TH |  | G-Heparin | Ship same day | AR-Flow Cytometry | NKC 4-26 Abs NKC 78-470 | Cells/L
Protein C Activity | Collect M-TH | 2 mL citrated plasma | B - Citrated plasma | Submit on day of collection and ship frozen | BR-Chromogenic | 84-172 | %
Protein S Activity | Spin after collection, separate plasma and freeze | 2 mL citrated plasma | B - Citrated plasma | Submit on day of collection and ship frozen | BR-Colorimetric | 60-152 | %
PT/PTT | Spin after collection, separate plasma and freeze | 2 mL citrated plasma | B - Citrated plasma | Submit on day of collection and ship frozen | BR-Photometric | PT: 10.9-13.9 Aptt: 23.9-36.9 | Sec.
SHBG | Spin after collection, separate plasma and freeze | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense Immunoassay | F: 18-144 M: 10.0-57.0 | nmol/L
Testosterone | Refrigerate after collection | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense Immunoassay | F: 8.4-48.1 M: 249-836 | ng/dL
Testosterone, BioAvailable (Free) | Refrigerate after collection | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense Immunoassay | F: 0.6-5.0 M: 72.0-460.0 | ng/dL
T3 | Refrigerate after collection | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense Immunoassay | 72-180 | ng/dL
T3, Free | Refrigerate after collection | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense Immunoassay | 2.0-4.7 | pg/mL
TPO Ab | Refrigerate after collection | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense | 0-35.0 | IU/mL
Tg Ab | Refrigerate after collection | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense | 0-40.0 | IU/mL
Zinc pp | Protect from Light | Whole blood | Lav | Ship same day | BR-Fluorescense | 18-36 | ng/dL
Vit B12 | Refrigerate after collection | 1 mL of serum | SST | Ship same day | BR-Chemiluminescense | 211-911 | pg/mL